Hall Ticket Number:                                                                                 14EE705/A

| IV/IV B.Tech (Regular / Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| Jan/Feb, 2021 | Electrical and Electronics Engineering |  |  |
| Seventh Semester | Electrical Power Distribution Systems Engineering |  |  |
| Time: Three Hours |  | Maximum: 60 Marks |  |
| Answer All Questions from Part - A. |  |  | (1X12 = 12 Marks) |
| Answer Any FOUR Questions from Part - B. |  |  | (4X12=48 Marks) |
| Part - A |  |  |  |

| 1 | Answer all questions |  | (1X12=12 Marks) |  |
| --- | --- | --- | --- | --- |
|  | a) | List any two roles of computers in present distribution system planning. |  |  |
|  | b) | Write the factors effecting distribution system planning? |  |  |
|  | c) | Define load factor. |  |  |
|  | d) | Define regulation of transformer. |  |  |
|  | e) | Write two factors to be considered for selecting substation location. |  |  |
|  | f) | What are different substation bus schemes? |  |  |
|  | g) | What is the purpose of fuse? |  |  |
|  | h) | What is the function of sectionalizer? |  |  |
|  | i) | List various factors effecting the selection of secondary voltage levels. |  |  |
|  | j) | Define power factor. |  |  |
|  | k) | List various ways to improve overall voltage regulation. |  |  |
|  | l) | What is the use of line drop compensation? |  |  |
| Part - B |  |  |  |  |
| 2 | a) | Explain the various factors effecting the distribution system planning. |  | 6M |
|  | b) | Derive relationship between load factor and loss factor for different cases. |  | 6M |
| 3 | a) | Explain the role of a computer in distribution planning process. |  | 6M |
|  | b) | List different types of tariff and explain about diversified demand method. |  | 6M |
| 4 | a) | Give the expressions for regulation and efficiency of the transformer. |  | 6M |
|  | b) | Compare different switching schemes. |  | 6M |
| 5 | a) | Illustrate substation bus schemes with neat diagrams. |  | 6M |
|  | b) | Explain different factors to be considered for substation location. |  | 6M |
| 6 | a) | Compare four and six feeder patterns in distribution substations |  | 6M |
|  | b) | Discuss any two over current protective devices |  | 6M |
| 7 | a) | Summarize radial type feeder with uniformly distributed load |  | 6M |
|  | b) | Discuss the co-ordination procedure between fuse and fuse |  | 6M |
| 8 | a) | Explain the effect of shunt and series capacitor on power factor and voltage profile improvement. |  | 6M |
|  | b) | Explain the method of line drop compensation. |  | 6M |
| 9 | a) | Discuss the step by step procedure to determine the best capacitor location. |  | 6M |
|  | b) | What are the various ways to improve the overall voltage regulation? |  | 6M |

| SCHEME OF EVALUATION IV/IV B.Tech (Regular\Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| January, 2021 | Electrical and Electronics Engineering |  |  |
| Seventh Semester | Electrical Power Distribution Systems Engineering |  |  |
| Time: Three Hours |  | Maximum: 60 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (1X12 = 12 Marks) |
| Answer ONE question from each unit. |  |  | (4X12=48 Marks) |

| 1 | Answer all questions |  | (1X12=12 Marks) |  |
| --- | --- | --- | --- | --- |
|  | a) | Any two roles of computers in present distribution system planning |  | 1M |
|  | b) | Any two factors effecting distribution system planning |  | 1M |
|  | c) | Definition of load factor |  | 1M |
|  | d) | Definition of regulation for transformer |  | 1M |
|  | e) | Any two factors to be considered for selecting substation location. |  | 1M |
|  | f) | Different substation bus schemes names. |  | 1M |
|  | g) | Purpose of fuse |  | 1M |
|  | h) | Function of sectionalizer |  | 1M |
|  | i) | Various factors effecting the selection of secondary voltage levels. |  | 1M |
|  | j) | Definition of power factor. |  | 1M |
|  | k) | Various ways to improve overall voltage regulation. |  | 1M |
|  | l) | Use of line drop compensation |  | 1M |
| UNIT I |  |  |  |  |
| 2 | a) | Explanation of any six factors effecting the distribution system planning. |  |  |
|  | b) | Relationship between load factor and loss factor………………………………….4M Different cases……………………………………………………………………..2M |  |  |
| (OR) |  |  |  |  |
| 3 | a) | Explanation of the role of a computer in distribution planning process …………..4M Block diagrams………………………………………………………… ………….2M |  |  |
|  | b) | Different types of tariff…………………………………………………………………3M Explanation about diversified demand method………………………………………..3M |  |  |
| UNIT II |  |  |  |  |
| 4 | a) | Expressions for regulation of transformer……………………………………………..3M Expression for efficiency of the transformer………………………………………….3M |  |  |
|  | b) | Comparison of any four points for different switching schemes……………………..6M |  |  |
| (OR) |  |  |  |  |
| 5 | a) | Illustration of any three substation bus schemes with neat diagrams…………………6M |  |  |
|  | b) | Explanation of any six factors to be considered for substation location……………..6M |  |  |
| UNIT III |  |  |  |  |
| 6 | a) | Comparison of any four points for four and six feeder patterns in distribution substations…………………………………………………………………………..6M |  |  |
|  | b) | Discussion on any two over current protective devices………………………………..….6M |  |  |
| (OR) |  |  |  |  |
| 7 | a) | Summarization of radial type feeder with uniformly distributed load along with diagram….6M |  |  |
|  | b) | Discussion on co-ordination procedure between fuse and fuse ………………………3M Diagrams………………………………………………………………………………….3M |  |  |
| UNIT IV |  |  |  |  |
| 8 | a) | Explanation of shunt capacitor on power factor and voltage profile improvement…..3M Explanation of series capacitor on power factor and voltage profile improvement…..3M |  |  |
|  | b) | Explanation on the economic justification of capacitors installation………………..6M |  |  |
| OR) |  |  |  |  |
| 9 | a) | Discussion on step by step procedure to determine the best capacitor location………..6M |  |  |
|  | b) | Any two ways to improve the overall voltage regulation…………………………….6M |  |  |