14EE803 (D)

Hall Ticket Number:

| IV/IV B.Tech (Regular/Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July, 2021 | Electrical & Electronics Engineering |  |  |
| Eight Semester | Principles of Power Quality |  |  |
| Time: Three Hours |  | Maximum: 60 Marks |  |
| Answer ALL Questions from PART-A. |  |  | (12X1 = 12 Marks) |
| Answer ANY FOUR questions from PART-B. |  |  | (4X12=48 Marks) |
| Part - A |  |  |  |

| 1. | Answer all questions |  | (12X1=12 Marks) |  |
| --- | --- | --- | --- | --- |
|  | a) | Define power quality |  |  |
|  | b) | List the types of sags |  |  |
|  | c) | What are impulsive transients |  |  |
|  | d) | Define Ferro resonance phenomena |  |  |
|  | e) | Mention the fundamental principles of overvoltage protection of load equipment |  |  |
|  | f) | What are the sources of transient over voltages on utility systems |  |  |
|  | g) | List out the problems created by harmonics |  |  |
|  | h) | What is the need of locating harmonic sources? |  |  |
|  | i) | Draw the relationship between P, Q, S in sinusoidal condition |  |  |
|  | j) | What is the use of shunt capacitor in regulating the voltage |  |  |
|  | k) | What is the need of power factor correction capacitors |  |  |
|  | l) | What is the effect of TSC as a voltage regulator |  |  |
| Part - B |  |  |  |  |
| 2. | a) | Explain about Power Quality evaluation procedure |  | 6M |
|  | b) | Discuss general classes of power quality problems |  | 6M |
| 3. | a) | Explain the motor starting methods to minimize the effect of power quality problems |  | 6M |
|  | b) | What are the types of waveform distortion |  | 6M |
| 4. | a) | With a neat sketch explain the principles of overvoltage protection |  | 6M |
|  | b) | Discuss about any two devices for overvoltage protection |  | 6M |
| 5. | a) | Discuss the utility control strategies to decrease the impact of lightning |  | 6M |
|  | b) | What are utility capacitor switching transients |  | 6M |
| 6. | a) | What are the various harmonic sources from commercial loads |  | 6M |
|  | b) | Explain the principles for controlling harmonics |  | 6M |
| 7. | a) | Explain the various harmonic indices used for measuring harmonic content of waveform |  | 6M |
|  | b) | Discuss about the devices for controlling harmonic distortion |  | 6M |
| 8. | a) | Discuss the important principles of regulating the voltage |  | 6M |
|  | b) | Write a short note on flicker mitigation techniques |  | 6M |
| 9. | a) | With a neat sketch explain operation of Utility step voltage regulators |  | 6M |
|  | b) | Explain operating principle of any two voltage regulating devices |  | 6M |

| IV/IV B.Tech (Regular\Supplementary) DEGREE EXAMINATION |  |  |
| --- | --- | --- |
| June, 2021 | Electrical & Electronics Engineering |  |
| Eight Semester | Principles of Power Quality |  |
| Time: Three Hours |  | Maximum: 60 Marks |

SCHEME OF VALUATION

SET-1

1.

(a) Power quality definition- 1 mark

(b) Types of sags- 1 mark

( c)  Definition or characteristics of impulsive transients- 1mark

(d) Ferroresonance means- 1mark

(e ) Any 2 principles of overvoltage protection- 1 mark

(f) Any 2 sources of transient overvoltages - 1 mark

(g)  Any 2 problems created by harmonics - 1 mark

(h) Any 1 need of locating harmonic sources- 1mark

(i) Phasor diagram representing P,Q,S – 1mark

(j)Use of shunt capacitor- 1mark

(k) Any 1 application power factor correction capacitor

(l) Any 1 importance of TSC as voltage regulator – 1 mark

2.

(a) Need of evaluation – 2marks

Steps of evaluation process – 4 marks

(b) Classes of power quality problems – 6 marks

3.

(a) List of starting methods – 2 Marks

Explanation about 2 methods- 4 Marks

(b) List of waveform distortion – 2 Marks

Explanation about 2 distortions- 4 Marks

4.

(a) Principle of over voltage protecton – 3 Marks

Representing with neat sketch- 3 Marks

(b)   Explanation about two devices for overvoltage protection- Each – 3Marks

5.

(a) Explanation about any two utility control strategies - Each – 3Marks

(b) Utility capacitor switching transients- 6 Marks

6.

(a) Explanation about any two harmonic sources from commercial loads- Each 3 Marks

(b) Principles of controlling harmonics – 6 Marks

7.

(a) Explanation about two harmonic indices used for measuring harmonic content of waveform – Each – 3 Marks

(b)  Explanation about any two devices for controlling harmonic distortion- Each 3 Marks

8.

(a) Explanation about principle of voltage regulation- 6 Marks

(b) Flicker mitigation techniques – 6 Marks

9.

(a) Explanation about utility step  voltage regulators- 6 Marks

(b) Operating principle of any  two voltage regulating devices-Each 3 Marks