14EE804 (A)

Hall Ticket Number:

| IV/IV B.Tech (Regular / Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July, 2021 | Electrical and Electronics Engineering |  |  |
| Eight Semester | Facts Controllers |  |  |
| Time: Three Hours |  | Maximum: 60 Marks |  |
| Answer ALL Questions from PART-A. |  |  | (12X1 = 12 Marks) |
| Answer ANY FOUR questions from PART-B. |  |  | (4X12=48 Marks) |
| Part - A |  |  |  |

| 1. | Answer all questions |  | (12X1=12 Marks) |  |
| --- | --- | --- | --- | --- |
|  | a) | Define FACTS as per IEEE. |  |  |
|  | b) | What are objectives of FACTS? |  |  |
|  | c) | Write an expression for XTCSC(α) |  |  |
|  | d) | What is the purpose of phase angle controller? |  |  |
|  | e) | What is the cause of reactive power deficit in power systems? |  |  |
|  | f) | What is SVC? |  |  |
|  | g) | What is controllable region of UPFC? |  |  |
|  | h) | What is difference between UPFC and IPFC? |  |  |
|  | i) | What are advantages of IPFC? |  |  |
|  | j) | Define sub-synchronous resonance. |  |  |
|  | k) | What are different linear control techniques to co-ordinate the multiple controllers? |  |  |
|  | l) | What are control attributes of TCBR? |  |  |
| Part - B |  |  |  |  |
| 2. | a) | Explain the mechanism of power flow in (i) parallel paths and (ii) Meshed system with the help of one line diagram. |  | 8M |
|  | b) | List basic types of FACTS controllers. |  | 4M |
| 3. | a) | Explain briefly the power flow and dynamic stability considerations of a transmission interconnection. |  | 6M |
|  | b) | Explain in detail about SPWM. |  | 6M |
| 4. |  | Explain the operation of TCR with relevant waveforms. |  | 12M |
| 5. |  | Explain the operation of STATCOM. |  | 12M |
| 6. |  | Explain operation and control of TCSC with a neat schematic. |  | 12M |
| 7. |  | Explain operation and control of TCVR and TCPAR with necessary waveforms. |  | 12M |
| 8. |  | Explain basic operating principle of UPFC with neat sketch and also explain the control of P and Q using UPFC. |  | 12M |
| 9. |  | Explain basic operating principle and characteristics of IPFC. |  | 12M |