| 20CE402 Hall Ticket Number: II/IV B.Tech( Regular) DEGREE EXAMINATION. August, 2022; Civil Engineering. Fourth Semester; Environmental Engineering. Time: Three Hours; Maximum:70 Marks. |  |
| --- | --- |
| Answer question 1 compulsory.; (14X1 = 14 Marks). Answer one question from each unit.; (4X14=56 Marks). |  |

| 1. | a) | List out the various sources of water.. | CO1 |  |
| --- | --- | --- | --- | --- |
|  | b) | Define design period | CO1 |  |
|  | c) | What are the objectives of water supply schemes | CO1 |  |
|  | d) | Define fire demand | CO1 |  |
|  | e) | What is the principle of slow sand filters | CO2 |  |
|  | f) | Define coagulation | CO2 |  |
|  | g) | What is Pre chlorination process | CO2 |  |
|  | h) | Define sullage. | CO3 |  |
|  | i) | Define BOD | CO3 |  |
|  | j) | What are catch basins | CO3 |  |
|  | k) | What is attached growth system? | CO4 |  |
|  | l) | What is the principle of Activated sludge process | CO4 |  |
|  | m) | Define MLSS and where do you encounter this term? | CO4 |  |
|  | n) | What is the function of grit chambers? | CO4 |  |
| Unit –I |  |  |  |  |
| 2. | a) | Explain the factors affecting per capita demand. | CO1 | 7M |
|  | b) | List out the methods of population forecasting and Explain any one method in brief. | CO1 | 7M |
| (OR) |  |  |  |  |
| 3. | a) | Estimate the population for the year 2021 and 2031 for a town, whose census data are given below, by Arithmetical Increase and Geometrical Increase method Year; 1961; 1971; 1981; 1991; 2001; 2011. Population; 1,82,564; 2,10,300; 2,66,000; 3,20,400; 3,80,000; 4,60,000. | CO1 | 14 M |
| Unit –II |  |  |  |  |
| 4. |  | Derive stokes law for settling velocity with its limitations. | CO2 | 14M |
| (OR) |  |  |  |  |
| 5. | a) | Differentiate between rapid and slow sand filters. | CO2 | 7M |
|  | b) | Explain coagulation process in brief also list out the types coagulants used. | CO2 | 7M |
| Unit –III |  |  |  |  |
| 6. | a) | Derive an expression for the estimation of ultimate first stage BOD? | CO3 | 14M |
| (OR) |  |  |  |  |
| 7. | a) | Discuss any two Sewer Appurtenances with neat sketch. | CO3 | 7M |
|  | b) | Explain the Physical and Chemical characteristics of sewage. | CO3 | 7M |
| Unit –IV |  |  |  |  |
| 8. | a) | Explain briefly the components, principle and working of trickling filters with neat sketch | CO4 | 14 M |
| (OR) |  |  |  |  |
| 9. | a) | Explain Sludge bulking and sludge volume index. | CO4 | 4M |
|  | b) | Explain the various methods of aeration in activated sludge process. | CO4 | 10M |