| 20EC202 Hall Ticket Number: I/IV B.Tech ( Regular/Supplementary) DEGREE EXAMINATION. September,2022; Electronics and Communication Engineering. Second Semester; BASIC INSTRUMENTATION. Time: Three Hours; Maximum:70 Marks. |  |
| --- | --- |
| Answer question 1 compulsory.; (14X1 = 14 Marks). Answer one question from each unit.; (4X14=56 Marks). |  |

| 1 | a) |  | Define Accuracy. | CO1 | BL1 | 1M |
| --- | --- | --- | --- | --- | --- | --- |
|  | b) |  | List types of errors | CO1 | BL1 | 1M |
|  | c) |  | Define sensitivity of a DC voltmeter | CO1 | BL1 | 1M |
|  | d) |  | What is the formula of RS for range extension in DC Ammeter? | CO1 | BL2 | 1M |
|  | e) |  | List types of AC bridges | CO2 | BL1 | 1M |
|  | f) |  | Name the bridges used for the measurement of Inductance | CO2 | BL1 | 1M |
|  | g) |  | What are the different Q measurement methods | CO2 | BL1 | 1M |
|  | h) |  | Define r.m.s value in True R.M.S Responding Voltmeter | CO3 | BL1 | 1M |
|  | i) |  | List different front panel controls of CRO | CO3 | BL1 | 1M |
|  | j) |  | What is the use of Graticules on CRO Screen | CO3 | BL1 | 1M |
|  | k) |  | Define transducer | CO4 | BL1 | 1M |
|  | l) |  | Write the principle of Strain gauge. | CO4 | BL1 | 1M |
|  | m) |  | What is the use of Data acquisition system? | CO4 | BL1 | 1M |
|  | n) |  | What is the principle of thermistor? | CO4 | BL1 | 1M |
| Unit –I |  |  |  |  |  |  |
| 2. |  | a) | Define and Explain the following terms i)Arithmetic mean ii)Deviation from mean ii)standard deviation and iii)Variance | CO1 | BL1 | 7M |
|  |  | b) | Develop a basic D’arsonval movement with an internal resistance of 100 Ω and a full scale deflection of 5mA into a multi range series string resistance DC voltmeter with ranges form 0-10v,0-50V,0-100V and 0-250V | CO1 | BL3 | 7M |
| (OR) |  |  |  |  |  |  |
| 3. |  | a) | A set of readings obtained in an experiment is 49.9, 50.1, 50.2, 49.6, 49.7 Determine i) Arithmetic mean ii) Mean deviation and iii) Standard deviation. | CO1 | BL3 | 7M |
|  |  | b) | Discuss about the analysis of shunt type ohm meter with neat diagrams. | CO1 | BL4 | 7M |
| Unit –II |  |  |  |  |  |  |
| 4. |  | a) | Explain how the unknown resistance is measured by means of Wheatstone bridge with a neat sketch | CO2 | BL2 | 7M |
|  |  | b) | Explain the operation of AC voltmeter using rectifiers with the help of neat sketch | CO2 | BL3 | 7M |
| (OR) |  |  |  |  |  |  |
| 5. |  | a) | Derive the equations for unknown variables of a Schering bridge with neat circuit diagram | CO2 | BL4 | 7M |
|  |  | b) | Sketch the circuit and explain the measurement of Q-Meter with series connection method | CO2 | BL3 | 7M |
| Unit –III |  |  |  |  |  |  |
| 6. |  | a) | Describe the different features of Cathode Ray Tube with a neat diagram | CO3 | BL2 | 7M |
|  |  | b) | Explain how Phase angle and frequency are measured using Oscilloscope. | CO3 | BL3 | 7M |
| (OR) |  |  |  |  |  |  |
| 7. |  | a) | Sketch a neat Block diagram of a CRO and explain its working | CO3 | BL3 | 7M |
|  |  | b) | Explain the working of a Digital storage oscilloscope with a neat block diagram | CO3 | BL2 | 7M |
| Unit –IV |  |  |  |  |  |  |
| 8. |  | a) | Describe the working principle of LVDT with a neat diagram | CO4 | BL2 | 7M |
|  |  | b) | Illustrate briefly about thermocouples | CO4 | BL2 | 7M |
| (OR) |  |  |  |  |  |  |
| 9. |  | a) | Discuss about the classification of transducers in detail | CO4 | BL1 | 7M |
|  |  | b) | Explain the working of a Digital Data Acquisition System with the help of neat diagram | CO4 | BL2 | 7M |