18EEI04

Hall Ticket Number:

| IV/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| May , 2022 | Electrical and Electronics Engineering |  |  |
| Eighth Semester | Electrical Energy Conservation and Auditing |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Questions No.1 compulsorily |  |  | (1X10 = 10 Marks) |
| Answer One question from each unit |  |  | (4X10=40 Marks) |

| 1. | Answer all questions |  | (1X10=10 Marks) |  |
| --- | --- | --- | --- | --- |
|  | a) | List down the objective of energy management. |  | CO1, L1 |
|  | b) | What is an energy audit? |  | CO1, L1 |
|  | c) | Write down the aims of the energy audit? |  | CO1, L1 |
|  | d) | A standard 10hp electric motor has an efficiency of 81% then find its motor loss? |  | CO2, L2 |
|  | e) | What are the disadvantages of over motoring? |  | CO2, L1 |
|  | f) | Why should we adopt energy-efficient motors? |  | CO2, L1 |
|  | g) | Why the power factor should be improve? |  | CO3, L1 |
|  | h) | Which is the best location for capacitor banks for power factor improvement from energy conservation point of view? |  | CO3, L1 |
|  | i) | Define fixed and variable cost |  | CO4, L1 |
|  | j) | Define the term “depreciation” |  | CO4, L1 |
| UNIT-I |  |  |  |  |
| 2. | a) | Explain ten steps methodology of detailed energy audit. |  | CO1, L1 5M |
|  | b) | Explain in detail of Energy consumption monitoring. |  | CO1, L1 5M |
| (OR) |  |  |  |  |
| 3. | a) | Write down the medium-term and long term energy conservation schemes. |  | CO1, L2 5M |
|  | b) | Explain the role of energy manager. |  | CO1, L2 5M |
| UNIT-II |  |  |  |  |
| 4. | a) | Explain in detail about energy efficient motors. |  | CO2, L2 5M |
|  | b) | List out the power losses in energy efficient motors and explain how to improve them. |  | CO2, L2 5M |
| (OR) |  |  |  |  |
| 5. | a) | Write a short note on Voltage Variation and Voltage Unbalance. |  | CO2, L2 5M |
|  | b) | Write down the benefits of the variable speed drives. |  | CO2, L2 5M |
| UNIT-III |  |  |  |  |
| 6. | a) | Explain in detail of good lighting system design and practice. |  | CO3, L2 5M |
|  | b) | Explain about the following audit instruments i) Ammeter and voltmeter, ii)watt meter, iii)thermocouples, iv)lux meters and v)tong testers in detail ? |  | CO3,L2 5M |
| (OR) |  |  |  |  |
| 7. | a) | Define and explain harmonics sources and also types of harmonics and its effects |  | CO3, L2 5M |
|  | b) | What are different power factor improvement methods ? Explain them in detail. |  | CO3, L2 5M |
| UNIT-IV |  |  |  |  |
| 8. | a) | The equipment in a power station costs Rs 15,60,000 and has a salvage value of Rs 60,000 at the end of 25 years. Determine the depreciated value of the equipment at the end of 20 years on the following methods: (i) Straight line method; (ii) Diminishing value method (iii) Sinking Fund Method at 5% compound interest annually |  | CO4, L3 5M |
|  | b) | A company borrows Rs.3,00,00,00 to finance a new boiler installation. If the interest rate is 10% per annum and the repayment period is 5 years, let us calculate the value of the total repayment and the monthly repayment value, assuming (i) simple interest and (ii) compound interest. |  | CO4, L3 5M |
| P.T.O. 18EEI04 |  |  |  |  |
| (OR) |  |  |  |  |
| 9. | a) | A proposed project requires an initial capital investment of Rs.20 000. The cash flows generated by the project are shown in the table below: Year Cash flow (Rs.) 0 –20,000.00 1 +6000.00 2 +5500.00 3 +5000.00 4 +4500.00 5 +4000.00 6 +4000.00 Given the above cash flow data, let us find out the internal rate of return for the project. |  | CO4, L3 5M |
|  | b) | A project requires an initial investment of Rs. 5000 and is expected to generate the following net cash inflows: Year – 1: 1000, Year – 2: 1200, Year – 3: 1600, Year – 4: 2000, Year – 5: 1800 . Compute net present value of the project if the minimum desired rate of return is 15%. |  | CO4, L3 5M |