18MEI03

Hall Ticket Number:

| IV/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| May, 2022 | Common to all branches |  |  |
| Eighth Semester | Non-Conventional Energy Sources |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (10X1 = 10 Marks) |
| Answer ONE question from each unit. |  |  | (4X10=40 Marks) |

| 1. | a) |  | What is the principle of PV cell? |  | CO1 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | b) |  | Define solar constant. |  | CO1 |  |
|  | c) |  | Why orientation is needed in concentrating type collectors? |  | CO1 |  |
|  | d) |  | Give the basic principle of wind energy conversion. |  | CO2 |  |
|  | e) |  | Classify the Geothermal sources. |  | CO2 |  |
|  | f) |  | State the Betz law. |  | CO2 |  |
|  | g) |  | Write the difference between biomass and biogas. |  | CO3 |  |
|  | h) |  | How biomass conversion takes place? |  | CO3 |  |
|  | i) |  | Classify fuel cells. |  | CO4 |  |
|  | j) |  | List some applications of fuel cells. |  | CO4 |  |
|  |  | Unit -I |  |  |  |  |
| 2. | a) |  | Descirbe the applications of solar energy. |  | CO1 | 5M |
|  | b) |  | What is teristrial radiation and extrateristrial radiation. |  | CO1 | 5M |
|  |  |  | (OR) |  |  |  |
| 3. | a) |  | Mention the main components of a flat-plate collector, explain the function of each. |  | CO1 | 5M |
|  | b) |  | Give the difference between a pyrheliometer and a pyranometer. |  | CO1 | 5M |
|  |  |  | Unit -II |  |  |  |
| 4. | a) |  | Draw horizontal axis Wind turbine with neat sketch. |  | CO2 | 5M |
|  | b) |  | Describe a Binary cycle system for liquid dominated system. |  | CO2 | 5M |
|  |  |  | (OR) |  |  |  |
| 5. | a) |  | Discuss the advantages and disadvantages of horizontal and vertical axis wind mill. |  | CO2 | 5M |
|  | b) |  | Write a short note on vapour-dominated geothermal power plant. |  | CO2 | 5M |
|  |  |  |  | Unit -III |  |  |
| 6. | a) |  | With the help of neat sketch explain the working of Open cycle OTEC system. |  | CO3 | 5M |
|  | b) |  | Describe down draft gasifier with a neat sketch. |  | CO3 | 5M |
|  |  |  | (OR) |  |  |  |
| 7. | a) |  | How do you classify tidal power plants? Describe single basin one way and double basin one way. |  | CO3 | 5M |
|  | b) |  | Classify the availability of biomass resources with suitable examples. |  | CO3 | 5M |
|  |  |  | Unit -IV |  |  |  |
| 8. | a) |  | FindWith neat sketch, describe the working of dome and drum type biogas plant. |  | CO4 | 5M |
|  | b) |  | Describe Aerobic and Anaerobic digestion. |  | CO4 | 5M |
|  |  |  | (OR) |  |  |  |
| 9. | a) |  | Describe an MHD closed cycle system, with its advantages and disadvantages. |  | CO4 | 5M |
|  | b) |  | With a neat sketch, explain the working of any one type of fuel cell. |  | CO4 | 5M |