18EI502

Hall Ticket Number:

| III/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| January, 2022 | Electronics and Instrumentation Engineering |  |  |
| Fifth Semester | Transducers |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (10X1 = 10 Marks) |
| Answer ONE question from each unit. |  |  | (4X10=40 Marks) |

| 1. | a) | While choosing a transducer for any application which characteristics have to be taken into account? | CO1 |  |
| --- | --- | --- | --- | --- |
|  | b) | Define dead zone and static sensitivity. | CO1 |  |
|  | c) | List the sources of systematic errors in measurement. | CO1 |  |
|  | d) | What is the principle of RTD? | CO2 |  |
|  | e) | Give the applications strain gauges. | CO2 |  |
|  | f) | How magnetostrictive transducer works? | CO2 |  |
|  | g) | Define piezoelectric effect. | CO2 |  |
|  | h) | What is the principle of capacitive transducer? | CO3 |  |
|  | i) | Define smart sensor. | CO3 |  |
|  | j) | List the applications of chemical sensors. | CO3 |  |
| Unit -I |  |  |  |  |
| 2. | a) | Outline the static characteristics of an instrument. | CO1 | 5M |
|  | b) | Explain the block diagram of generalized measurement system. | CO1 | 5M |
| (OR) |  |  |  |  |
| 3. | a) | Explain different errors in measurement. | CO1 | 5M |
|  | b) | Derive the response of a first order instrument to a unit step input. | CO1 | 5M |
| Unit –II |  |  |  |  |
| 4. | a) | Illustrate the working principle of Hotwire Anemometer with a neat sketch. | CO2 | 5M |
|  | b) | Describe the construction and working of LVDT with necessary diagrams. | CO2 | 5M |
| (OR) |  |  |  |  |
| 5. | a) | Explain the transduction principle of thermistor and also explain how it can be linearized. | CO2 | 5M |
|  | b) | Outline the working of variable reluctance type transducer. | CO2 | 5M |
| Unit -III |  |  |  |  |
| 6. | a) | Explain the differential type capacitive transducer with neat sketch. | CO3 | 5M |
|  | b) | Describe the working principle of piezoelectric transducer and give its characteristics. | CO3 | 5M |
| (OR) |  |  |  |  |
| 7. | a) | Discuss the variable area and variable gap type capacitive transducers. | CO3 | 5M |
|  | b) | What is piezoelectric effect and mention different piezoelectric materials. | CO3 | 5M |
| Unit –IV |  |  |  |  |
| 8. | a) | Find Explain the block diagram of a smart sensor and list its applications. | CO4 | 5M |
|  | b) | Describe the working principle of fiber optic sensor with neat diagram. | CO4 | 5M |
| (OR) |  |  |  |  |
| 9. | a) | Outline the construction and working of chemical sensors. | CO4 | 5M |
|  | b) | Explain the principle of IR radiation sensors and give its applications. | CO4 | 5M |