18EI702

Hall Ticket Number:

| IV/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| December, 2021 | Electronics and Instrumentation Engineering |  |  |
| Seventh Semester | Biomedical Instrumentation |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (10X1 = 10 Marks) |
| Answer ONE question from each unit. |  |  | (4X10=40 Marks) |

| 1. | a) | List out the components of a Man Instrument system. | CO1 |  |
| --- | --- | --- | --- | --- |
|  | b) | What is meant by sodium pump? | CO1 |  |
|  | c) | Define bio-electric potential. | CO1 |  |
|  | d) | Name the different types of Surface electrodes. | CO2 |  |
|  | e) | Define latency in EMG. | CO2 |  |
|  | f) | What are Korotkoff sounds? | CO3 |  |
|  | g) | State the normal values of blood pressure. | CO3 |  |
|  | h) | What is the principle of diathermy? | CO4 |  |
|  | i) | Why are asynchronous pacemaker no longer used? | CO4 |  |
|  | j) | What is the purpose of complete blood gas analyser? | CO4 |  |
| Unit -I |  |  |  |  |
| 2. | a) | Distinguish between resting potential and action potential. | CO1 | 5M |
|  | b) | Discuss various parameters related to respiratory process with a neat diagram. | CO1 | 5M |
| (OR) |  |  |  |  |
| 3. | a) | Discuss the problems encountered in measuring a living system. | CO1 | 4M |
|  | b) | Write short notes on ECG, EEG and EMG. | CO1 | 6M |
| Unit -II |  |  |  |  |
| 4. | a) | Discuss in brief about micro and needle electrodes. | CO2 | 4M |
|  | b) | Explain the different lead configurations in ECG Wave form recording. | CO2 | 6M |
| (OR) |  |  |  |  |
| 5. | a) | Draw the block diagram of EMG Recording setup and explain the function of each block. | CO2 | 6M |
|  | b) | Write short notes on EEG in the diagnostics. | CO2 | 4M |
| Unit -III |  |  |  |  |
| 6. | a) | Explain in brief about direct methods for blood pressure measurement. | CO3 | 5M |
|  | b) | Discuss the principle and working of electro-magnetic blood flow meter with a neat sketch. | CO3 | 5M |
| (OR) |  |  |  |  |
| 7. | a) | Explain cardiac output measurement by thermal dilution method with a neat diagram. | CO3 | 5M |
|  | b) | Write short notes on four different types of heart sounds and their significance. | CO3 | 5M |
| Unit -IV |  |  |  |  |
| 8. | a) | Find Distinguish between internal and external pacemakers. | CO4 | 5M |
|  | b) | Describe the operation of synchronized DC defibrillator with a neat sketch. | CO4 | 5M |
| (OR) |  |  |  |  |
| 9. | a) | With a neat diagram, explain the measurement of partial pressure of O2 in blood. | CO4 | 6M |
|  | b) | Summarize the applications of various imaging techniques. | CO4 | 4M |