18EI703

Hall Ticket Number:

| IV/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| December, 2021 | Electronics and Instrumentation Engineering |  |  |
| Seventh Semester | Analytical Instrumentation |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (10X1 = 10 Marks) |
| Answer ONE question from each unit. |  |  | (4X10=40 Marks) |

| 1. | a) | Draw the general block diagram of an analytical instrument. | CO1 |  |
| --- | --- | --- | --- | --- |
|  | b) | State Lamberts law. | CO1 |  |
|  | c) | What is the function of interference filter? | CO1 |  |
|  | d) | What is spin-spin coupling? | CO3 |  |
|  | e) | What is the significance of chemical shift in NMR spectroscopy? | CO3 |  |
|  | f) | Define dead time of GM Counter. | CO4 |  |
|  | g) | Give examples of scintillation counter. | CO4 |  |
|  | h) | State the principle of X-ray absorption meter. | CO3 |  |
|  | i) | Why is the column temperature so critical in gas chromatography? | CO4 |  |
|  | j) | List various applications of liquid chromatography | CO4 |  |
| Unit -I |  |  |  |  |
| 2. | a) | With a neat sketch explain electromagnetic spectrum. | CO1 | 5M |
|  | b) | Distinguish between prism and diffraction grating monochromators. | CO1 | 5M |
| (OR) |  |  |  |  |
| 3. | a) | Discuss various types of radiation sources in UV and visible spectroscopic instruments. | CO1 | 5M |
|  | b) | Explain the working of null type single beam UV spectrophotometer with a neat sketch. | CO1 | 5M |
| Unit -II |  |  |  |  |
| 4. | a) | Explain the basic components of Infrared Spectrometer with relevant sketches. | CO1 | 5M |
|  | b) | List and explain the various detectors used in Infrared Spectrophotometer. | CO1 | 5M |
| (OR) |  |  |  |  |
| 5. | a) | Draw the block diagram of a flame photometer and describe the function of each block. | CO4 | 5M |
|  | b) | Explain in detail about Beckman KLiNa flame photometer (Clinical flame photometer). | CO4 | 5M |
| Unit -III |  |  |  |  |
| 6. | a) | Write short notes on the ion sources used in Mass Spectrophotometers. | CO3 | 5M |
|  | b) | Draw the schematic diagram of magnetic deflection Mass Spectrometer and explain its operation in detail. | CO3 | 5M |
| (OR) |  |  |  |  |
| 7. | a) | Describe the constructional details of ESR Spectrometer with a neat sketch. | CO3 | 5M |
|  | b) | Mention various applications of ESR spectrophotometer. | CO3 | 5M |
| Unit -IV |  |  |  |  |
| 8. | a) | Find Write short note on solid state detectors. | CO2 | 5M |
|  | b) | Expl Explain the working principle of proportional counter. | CO2 | 5M |
| (OR) |  |  |  |  |
| 9. | a) | Explain in detail the instrumentation of X-ray diffractometer. List its limitations and give some of applications. | CO3 | 5M |
|  | b) | Mention the basic parts of gas chromatography and explain function of individual parts with necessary diagrams. | CO3 | 5M |