20CE402

Hall Ticket Number:

| II/IV B.Tech (Regular/Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July/August,2023 | Civil Engineering |  |  |
| Fourth Semester | Environmental Engineering |  |  |
| Time: Three Hours |  | Maximum: 70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

|  |  |  | CO | BL | M |
| --- | --- | --- | --- | --- | --- |
| 1 | a) | Define wholesome water. | CO1 | L1 | 1 |
|  | b) | Enlist any two types of demand? | CO1 | L1 | 1 |
|  | c) | Define fire demand. | CO1 | L1 | 1 |
|  | d) | Memorize Coagulation? | CO2 | L1 | 1 |
|  | e) | Define hardness. | CO2 | L1 | 1 |
|  | f) | Summarize the effect of fluoride on human health? | CO2 | L2 | 1 |
|  | g) | Review the purpose of chlorination? | CO2 | L2 | 1 |
|  | h) | Distinguish sewage and sullage. | CO3 | L2 | 1 |
|  | i) | Define Dry Weather Flow | CO3 | L1 | 1 |
|  | j) | Enlist any two Sewer Appurtenances | CO3 | L1 | 1 |
|  | k) | Define BOD?. | CO3 | L1 | 1 |
|  | l) | Define sludge volume index | CO4 | L1 | 1 |
|  | m) | Define MLSS and where do you encounter this term? | CO4 | L1 | 1 |
|  | n) | What is the role of grit chamber in wastewater treatment plant. | CO4 | L2 | 1 |
| Unit-I |  |  |  |  |  |
| 2 |  | Estimate the population for the year 2021 and 2031 for a town, whose census data are given below, by Arithmetical Increase and Geometrical Increase method Year; 1961; 1971; 1981; 1991; 2001; 2011. Population; 1,80,000; 2,10,000; 2,45,000; 2,90,000; 3,50,000; 4,10,000. | CO1 | L5 | 14M |
|  |  | (OR) |  |  |  |
| 3 | a) | Outline the factors affecting the per capita water demand in detail. | CO1 | L2 | 7M |
|  | b) | Summarize the objectives of water supply scheme? | CO1 | L2 | 7M |
| Unit-II |  |  |  |  |  |
| 4 |  | Design Sedimentation tank for a flow of 4.5 mld Do necessary checks Assume suitable data wherever required. | CO2 | L5 | 14M |
| (OR) |  |  |  |  |  |
| 5 |  | Outline, the Layouts of "Distribution system" with their merits and demerits. | CO2 | L2 | 14M |
| Unit-III |  |  |  |  |  |
| 6 |  | Describe the Sewerage systems and their relative merits. State the conditions under which they are suitable. | CO3 | L2 | 14M |
| (OR) |  |  |  |  |  |
| 7 | a) | Derive an expression for the estimation of ultimate first stage BOD? | CO3 | L5 | 7M |
|  | b) | Explain about any one sewer appurtenances with neat diagram. | CO3 | L2 | 7M |
| Unit-IV |  |  |  |  |  |
| 8 | a) | Differentiate between the activated sludge process and trickling filters process. | CO4 | L3 | 7M |
|  | b) | Explain the terms Sludge bulking and Sludge volume index. | CO4 | L2 | 7M |
| (OR) |  |  |  |  |  |
| 9 |  | Outline the sewage treatment plant and explain each treatment unit. | CO4 | L2 | 14M |