18CEI02

Hall Ticket Number:

| IV/IV B.Tech (Regular/Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| November, 2022 | Institutional Elective (Common to all branches) |  |  |
| Seventh Semester | Rural Water Supply and Environment Sanitation |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (10X1 = 10 Marks) |
| Answer ONE question from each unit. |  |  | (4X10=40 Marks) |

| 1. | a) |  |  | Write the importance of rural water supply? |  | CO1 | L2 | 1M |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | b) |  |  | What will happen due to consumption of contaminated water? |  | CO1 | L1 | 1M |
|  | c) |  |  | What is National Rural Drinking Water Quality Monitoring and Surveillance Programme ? |  | CO1 | L3 | 1M |
|  | d) |  |  | Define Coliforms? |  | CO2 | L4 | 1M |
|  | e) |  |  | Which states were affected by excess Fluoride? |  | CO2 | L2 | 1M |
|  | f) |  |  | What is meant by Epidemiology? |  | CO2 | L2 | 1M |
|  | g) |  |  | Define Sanitation? |  | CO3 | L3 | 1M |
|  | h) |  |  | Define soak pit? |  | CO3 | L1 | 1M |
|  | i) |  |  | What are the advantages of composting? |  | CO4 | L3 | 1M |
|  | j) |  |  | What is the advantage of Biogas plant? |  | CO4 | L3 | 1M |
|  |  |  | Unit -I |  |  |  |  |  |
| 2. |  | a) |  |  | Explain the surface and subsurface sources of water in the rural water supply? | CO1 | L1 | 5M |
|  |  | b) |  |  | Explain about the issues related to water quantity associated with Rural water supply? | CO1 | L2 | 5M |
|  |  |  | (OR) |  |  |  |  |  |
| 3. |  | a) |  |  | Explain in detail about National rural drinking water program? | CO1 | L4 | 5M |
|  |  | b) |  |  | List and explain various problems associated with rural water supply in India? | CO1 | L2 | 5M |
|  |  |  | Unit -II |  |  |  |  |  |
| 4. |  | a) |  |  | Explain briefly about Epidemiological aspects of water quality? | CO2 | L3 | 10M |
|  |  |  | (OR) |  |  |  |  |  |
| 5. |  | a) |  |  | What are the different Low cost water treatment methods, explain briefly? | CO2 | L2 | 10M |
|  |  |  | Unit -III |  |  |  |  |  |
| 6. |  | a) |  |  | Explain in brief about the Rural Sanitation in India? | CO3 | L1 | 5M |
|  |  | b) |  |  | Explain the various treatment units used for treating the rural wastewater? | CO3 | L2 | 5M |
|  |  |  | (OR) |  |  |  |  |  |
| 7. |  | a) |  |  | Explain in brief about the septic tanks? | CO3 | L4 | 5M |
|  |  | b) |  |  | Explain the various low cost excreta disposal systems used in rural sanitation? | CO3 | L2 | 5M |
|  |  |  | Unit -IV |  |  |  |  |  |
| 8. |  | a) |  |  | Find about the various issues and problems encountered in rural health and sanitation? | CO4 | L1 | 10M |
|  |  |  | (OR) |  |  |  |  |  |
| 9. |  | a) |  |  | Explain in brief about the landfill process used for the treatment of solid waste for rural community?. | CO4 | L2 | 10M |