20EI305

Hall Ticket Number:

| II/IV B.Tech. (Regular/Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| February, 2023 | Electronics & Instrumentation Engineering |  |  |
| Third Semester | Transducers |  |  |
| Time: Three Hours |  | Maximum:70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

| 1. | a) |  | Differentiate accuracy and precision. | CO1 | L3 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | b) |  | What is the mode value for a set of data given by 2,3,5,6,9,10,10,10,11,12,12,14,18? | CO1 | L1 |  |
|  | c) |  | Define eddy currents? | CO2 | L1 |  |
|  | d) |  | Draw the curve for Hysteresis effect of an instrument. | CO1 | L2 |  |
|  | e) |  | List the applications of fiber optic sensors? | CO4 | L1 |  |
|  | f) |  | What is inverse transducer? Give an example. | CO2 | L1 |  |
|  | g) |  | Which principle of capacitive transducer is used for the measurement of liquid level? | CO3 | L2 |  |
|  | h) |  | Mention any two transducers used for measurement of temperature. | CO2 | L1 |  |
|  | i) |  | Write the principle of chemical sensors. | CO4 | L1 |  |
|  | j) |  | List any two natural piezoelectric crystals. | CO3 | L1 |  |
|  | k) |  | What are the limitations of IR radiation sensors? | CO4 | L1 |  |
|  | l) |  | Write the principle of magneto strictive transducer. | CO2 | L1 |  |
|  | m) |  | Define gauge factor. | CO2 | L1 |  |
|  | n) |  | The measured value of a capacitor is 205 µF, whereas its true value is 200.4 µF. Determine the relative error. | CO1 | L2 |  |
|  |  | UNIT-I |  |  |  |  |
| 2. | a) |  | Draw the block diagram of a generalized measurement system and explain. | CO1 | L3 | 7M |
|  | b) |  | Explain the following static characteristics of an instrument. (i) Linearity (ii) Threshold (iii) Dead Zone (iv) Span | CO1 | L1 | 7M |
|  |  | (OR) |  |  |  |  |
| 3. | a) |  | Discuss about limiting errors and their combinations. | CO1 | L2 | 7M |
|  | b) |  | Derive the expression for ramp response of first order instrument. | CO1 | L3 | 7M |
|  |  | UNIT-II |  |  |  |  |
| 4. | a) |  | Explain the operation of hotwire anemometer with a neat diagram. | CO2 | L2 | 7M |
|  | b) |  | Write a short note on types of strain gauges. | CO2 | L1 | 7M |
|  |  | (OR) |  |  |  |  |
| 5. | a) |  | Explain the operation of LVDT in detail with neat diagrams. | CO2 | L2 | 7M |
|  | b) |  | With a neat schematic discuss the operation of RVDT. | CO2 | L2 | 7M |
|  |  | UNIT-III |  |  |  |  |
| 6. | a) |  | Explain variable gap type and differential type capacitive transducers. | CO3 | L3 | 7M |
|  | b) |  | Explain variable area and variable dielectric type capacitive transducers. | CO3 | L2 | 7M |
|  |  | (OR) |  |  |  |  |
| 7. | a) |  | Obtain the expression for charge sensitivity of a piezoelectric crystal. | CO3 | L3 | 7M |
|  | b) |  | What is piezoelectric effect? Write about various materials which exhibit piezoelectric effect. List applications of piezoelectric materials. | CO3 | L2 | 7M |
|  |  | UNIT-IV |  |  |  |  |
| 8. | a) |  | Explain the operation of ultrasonic sensor and write its applications. | CO4 | L2 | 7M |
|  | b) |  | Write a short note on micro sensors with necessary diagrams. | CO4 | L1 | 7M |
|  |  | (OR) |  |  |  |  |
| 9. | a) |  | Explain measurement of various parameters using Fiber Optic sensors briefly. | CO4 | L1 | 7M |
|  | b) |  | What are chemical sensors? Write a short note on chemical sensors. | CO4 | L1 | 7M |