20EI601

Hall Ticket Number:

| III/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July/August, 2023 | Electronics & Instrumentation Engineering |  |  |
| Sixth Semester | Process Control |  |  |
| Time: Three Hours |  | Maximum: 70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

|  |  |  | CO | BL | M |
| --- | --- | --- | --- | --- | --- |
| 1 | a) | Give any two examples of proportional elements. | CO1 | BL1 | 1 |
|  | b) | List the applications of Flapper-Nozzle system. | CO1 | BL1 | 1 |
|  | c) | Where self-regulation is needed ? | CO1 | BL1 | 1 |
|  | d) | What is ITAE criterion? | CO1 | BL2 | 1 |
|  | e) | What is the role of Dead Band in ON-OFF control ? | CO2 | BL2 | 1 |
|  | f) | Sketch any one type of plug for each of the single-seat and double-seat valves. | CO2 | BL1 | 1 |
|  | g) | What are the applications of gate valve? | CO2 | BL2 | 1 |
|  | h) | Identify the applications of ratio controller. | CO2 | BL3 | 1 |
|  | i) | What are the disadvantages of feed forward control? | CO3 | BL1 | 1 |
|  | j) | Sketch the structure of internal model control scheme. | CO3 | BL2 | 1 |
|  | k) | Define controller tuning. | CO4 | BL1 | 1 |
|  | l) | Write the mathematical model of a single time-constant process. | CO4 | BL3 | 1 |
|  | m) | What is the need of mathematical modelling ? | CO4 | BL1 | 1 |
|  | n) | Draw a typical first order liquid system. | CO4 | BL2 | 1 |
| Unit-I |  |  |  |  |  |
| 2 | a) | Distinguish between Batch process and Continuous process control with suitable examples. | CO1 | BL3 | 7M |
|  | b) | Describe the mathematical modeling of home heating system | CO4 | BL3 | 7M |
|  |  | (OR) |  |  |  |
| 3 | a) | Analyze the degree of freedom of a process with an example | CO1 | BL3 | 7M |
|  | b) | Explain the characteristics of a PID controller. What is meant by reset rate? | CO2 | BL2 | 7M |
| Unit-II |  |  |  |  |  |
| 4 | a) | Discuss about electronic controller with relevant diagram | CO2 | BL2 | 7M |
|  | b) | Explain the operation of a pneumatic actuator with positioner with a neat diagram. | CO2 | BL2 | 7M |
| (OR) |  |  |  |  |  |
| 5 | a) | With a neat sketch explain the realization of pneumatic Proportional-Derivative control action. | CO2 | BL2 | 7M |
|  | b) | Outline the operation of rotating vane type control valves with neat sketch. | CO2 | BL2 | 7M |
| Unit-III |  |  |  |  |  |
| 6 | a) | Design a cascade control system choosing an example process and analyze the same. | CO4 | BL4 | 7M |
|  | b) | Explain the concept of split range control with an application . | CO3 | BL2 | 7M |
| (OR) |  |  |  |  |  |
| 7 | a) | Explain the feed forward control with a suitable example and neat sketch. | CO3 | BL2 | 7M |
|  | b) | Explain how smith predictor control scheme is suitable for dead time processes. | CO3 | BL2 | 7M |
| Unit-IV |  |  |  |  |  |
| 8 | a) | Explain the procedure to design internal model control for a first order process | CO3 | BL2 | 7M |
|  | b) | What is process identification? Explain frequency testing and pulse testing methods. | CO3 | BL2 | 7M |
| (OR) |  |  |  |  |  |
| 9 | a) | Explain about Cohen-Coon controller tuning method. | CO4 | BL3 | 7M |
|  | b) | Define the terms and symbols used in P&I diagrams | CO4 | BL2 | 7M |