20EI603

Hall Ticket Number:

| III/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July/August, 2023 | Electronics and Instrumentation Engineering |  |  |
| Sixth Semester | Biomedical Instrumentation |  |  |
| Time: Three Hours |  | Maximum: 70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

|  |  |  | CO | BL | M |
| --- | --- | --- | --- | --- | --- |
| 1 | a) | List the problems encounter in measuring a living system? | CO1 | L1 | 1M |
|  | b) | Define resting potential? | CO1 | L1 | 1M |
|  | c) | List various physiological systems of the body? | CO1 | L1 | 1M |
|  | d) | What is the use of biomedical electrodes? | CO2 | L2 | 1M |
|  | e) | Draw and Interpret the ECG Waveform? | CO2 | L2 | 1M |
|  | f) | What are the various types of blood pressure measurement | CO2 | L1 | 1M |
|  | g) | Define Cardiac Output? | CO3 | L2 | 1M |
|  | h) | What is Phonocardiography | CO3 | L2 | 1M |
|  | i) | What is Dialysis? | CO4 | L1 | 1M |
|  | j) | What is the use of Defibrillator? | CO4 | L2 | 1M |
|  | k) | What is meant by an in vitro measurement? | CO1 | L2 | 1M |
|  | l) | List the uses of EEG? | CO2 | L1 | 1M |
|  | m) | List various blood flow measurement techniques? | CO3 | L2 | 1M |
|  | n) | What is the use of Bio-Chemical Electrodes? | CO4 | L2 | 1M |
| Unit-I |  |  |  |  |  |
| 2 | a) | Write a detailed note on Man-Instrument System | CO1 | L2 | 7M |
|  | b) | Write a short note on physiology of Respiratory system | CO1 | L3 | 7M |
|  |  | (OR) |  |  |  |
| 3 | a) | Explain the generation of action potential with neat diagram | CO1 | L2 | 7M |
|  | b) | Write a short note on physiology of Nervous system | CO1 | L3 | 7M |
| Unit-II |  |  |  |  |  |
| 4 | a) | Discuss various types of electrodes used in biomedical instrumentation | CO2 | L2 | 7M |
|  | b) | With neat sketch draw and explain the block diagram of ECG machine. | CO2 | L3 | 7M |
| (OR) |  |  |  |  |  |
| 5 | a) | Write a short note on Electomyographic measurements | CO2 | L3 | 7M |
|  | b) | Discuss in detail about EEG and 10-20 system | CO2 | L3 | 7M |
| Unit-III |  |  |  |  |  |
| 6 | a) | With neat sketch explain the blood flow measurement by Ultrasonic blood flow meter | CO3 | L3 | 7M |
|  | b) | With a neat sketch explain the blood pressure measurement using Electrosphygmomano meter | CO3 | L3 | 7M |
| (OR) |  |  |  |  |  |
| 7 | a) | Explain the techniques used to measure the cardiac output | CO3 | L3 | 7M |
|  | b) | Explain the blood flow measurement by Thermal Convection method | CO3 | L3 | 7M |
| Unit-IV |  |  |  |  |  |
| 8 | a) | What is a pacemaker? Explain the various modes of pacemaker in detail. | CO4 | L3 | 7M |
|  | b) | Explain the reference and pH electrodes. | CO4 | L2 | 7M |
| (OR) |  |  |  |  |  |
| 9 | a) | Write short note on Magnetic Resonance Imaging in Medical Imaging | CO4 | L3 | 7M |
|  | b) | Write a detailed note on diathermy and its applications | CO4 | L3 | 7M |