20CE502

Hall Ticket Number:

| III/IV B.Tech (Regular/Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| December, 2023 | Civil Engineering |  |  |
| Sixth Semester | Foundation Engineering |  |  |
| Time: Three Hours |  | Maximum: 70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

|  |  |  | CO | BL | M |
| --- | --- | --- | --- | --- | --- |
| 1 | a) | Define bore logs | CO1 | L1 | 1M |
|  | b) | How will you calculate area ratio? | CO1 | L2 | 1M |
|  | c) | A sampler has inside diameter of 13.25 mm and thickness of 1.30 mm. Check whether the obtained sample is undisturbed or not. | CO1 | L3 | 1M |
|  | d) | Define earth pressure. | CO2 | L3 | 1M |
|  | e) | Calculate coefficient of passive earth pressure whose failure plane is inclined at an angle of 25° | CO2 | L3 | 1M |
|  | f) | List out the different types of slope failure | CO2 | L1 | 1M |
|  | g) | Differentiate safe bearing capacity and net safe bearing capacity | CO3 | L4 | 1M |
|  | h) | List different types of settlement. | CO3 | L1 | 1M |
|  | i) | Mention the three bearing capacity factors | CO4 | L1 | 1M |
|  | j) | What are friction piles? | CO4 | L1 | 1M |
|  | k) | State pile group efficiency. | CO1 | L1 | 1M |
|  | l) | What are the different shapes of well foundations? | CO1 | L1 | 1M |
|  | m) | Provide one remedial solution for foundation on expansive soil | CO1 | L3 | 1M |
|  | n) | In a hilly road, the retaining wall has got tilted towards the road side. What type of earth pressure has exceeded the permissible level. | CO2 | L4 | 1M |
| Unit-I |  |  |  |  |  |
| 2 | a) | When will you go for auger boring? Explain with neat sketch. | CO1 | L3 | 7M |
|  | b) | Explain SPT test. | CO1 | L3 | 7M |
|  |  | (OR) |  |  |  |
| 3 | a) | A site has a rocky stratum with weathered rocks. Explain the most suitable method of boring with neat sketch. | CO1 | L4 | 8M |
|  | b) | A SPT was conducted in a dense sand deposit at a depth of 22 m, and a value of 48 was observed for N. The density of the sand was 15 kN/m2. What is the value of N, corrected for overburden pressure? | CO1 | L3 | 6M |
| Unit-II |  |  |  |  |  |
| 4 | a) | An embankment 14m high is inclined at 34° to the horizontal. A stability analysis by the method of slices gave the following force. Summation of normal force is equal to 800 kN and that of tangential force is 460 kN, summation of pore water pressure is 210 kN. If the length of the failure arc is 21.5 m. Determine whether the slope is safe. C=25 kN/m2, friction angle is 14° | CO2 | L3 | 7M |
|  | b) | Derive FoS as per Friction circle method. Provide necessary illustration | CO2 | L4 | 7M |
| (OR) |  |  |  |  |  |
| 5 | a) | Explain Rankine’s earth pressure theory | CO2 | L2 | 7M |
|  | b) | Explain earth pressure theory at rest condition | CO2 | L3 | 7M |
| Unit-III |  |  |  |  |  |
| 6 | a) | Provide a brief note types of foundations with neat diagrams. | CO3 | L2 | 7M |
|  | b) | Compute the safe bearing capacity of a continuous footing 1.95 m wide, and located at a depth of 1.2 m below ground level in a soil with unit weight γ = 19 kN/m3, c = 25 kPa, and φ = 21°. Terzaghi’s bearing capacity factors are Nc = 17.7, Nq = 7.4, and Nγ = 5.0, what is the ultimate bearing capacity of soil? | CO3 | L3 | 7M |
| P.T.O 20CE502 |  |  |  |  |  |
| (OR) |  |  |  |  |  |
| 7 | a) | How will you compute immediate settlement of foundation on cohesionless soil | CO3 | L2 | 7M |
|  | b) | A rectangular footing (3 m x 2 m ) exerts a pressure of 100 kPa on a cohesive soil (Es = 5x104 kPa, Poisson's ratio = 0.5). Determine the immediate settlement at the centre, assuming (a) the footing is flexible (I = 1.36), (b) the footing is rigid (I=1.06). | CO3 | L3 | 7M |
| Unit-IV |  |  |  |  |  |
| 8 | a) | Design a square pile group to carry 400 kN in clay with an unconfined compression strength of 60 kN/m2. The piles are 30 cm diameter and 6 m long. Adhesion factor may be taken as 0.6. | CO4 | L4 | 7M |
|  | b) | A pile group consists of 9 friction piles of 30 cm diameter and 10 m length driven in clay( undrained cohesion = 100 kN/m2, unit weight = 20 kN/m^3) as shown in Fig. Determine the safe load for the group. FOS = 3, α=0.6 | CO4 | L3 | 7M |
| (OR) |  |  |  |  |  |
| 9 | a) | Explain tilt and shift of wells | CO4 | L2 | 7M |
|  | b) | In a site location, the existing soil is identified as black cotton soil. What are the consequences of the soil. | CO4 | L2 | 7M |