20ME404

Hall Ticket Number:

| II/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| August, 2022 |  |  |  |  | Mechanical Engineering |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fourth Semester |  |  |  |  | Applied Thermodynamics |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time: Three Hours |  |  |  |  |  | Maximum: 70 Marks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steam tables are allowed into the examination hall. Answer Question No.1 compulsorily. |  |  |  |  |  |  | (1X14 = 14 Marks) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Answer ONE question from each unit. |  |  |  |  |  |  | (4X14=56 Marks) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. |  | a) |  | Define Pure Substance. |  |  |  | CO1 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | b) |  | What is the critical pressure ratio in steam nozzle? |  |  |  | CO2 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | c) |  | Define the term degree of reaction in steam turbines. |  |  |  | CO3 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | d) |  | Write the difference between impulse and reaction turbine |  |  |  | CO3 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | e) |  | What is the purpose of condenser in steam turbine plant? |  |  |  | CO3 |  |  |  |  |  | L2 |  |  |  |  |  |  |
|  |  | f) |  | Define critical pressure ratio of a Steam Nozzle |  |  |  | CO2 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | g) |  | Define reheat factor. |  |  |  | CO3 |  |  |  |  |  | L2 |  |  |  |  |  |  |
|  |  | h) |  | Define COP of refrigerator |  |  |  | CO4 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | i) |  | What is dew point temperature? |  |  |  | CO4 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | j) |  | Define relative humidity |  |  |  | CO4 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | k) |  | Define the function of Boiler Accessories? |  |  |  | CO2 |  |  |  |  |  | L1 |  |  |  |  |  |  |
|  |  | l) |  | Define volumetric efficiency of steam Condenser. |  |  |  | CO3 |  |  |  |  |  | L2 |  |  |  |  |  |  |
|  |  | m) |  | Classification of Jet Condensers |  |  |  | CO3 |  |  |  |  |  | L2 |  |  |  |  |  |  |
|  |  | n) |  | Draw T-s diagram of Rankine cycle, |  |  |  | CO1 |  |  |  |  |  | L2 |  |  |  |  |  |  |
| UNIT I |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | a) |  | Explain P-v,T-s and h-s diagrams of superheated steam with help of neat sketches. |  |  |  |  |  | CO1 |  |  |  | L1 |  |  |  |  |  | 7M |  |
|  | b) |  | Explain the Phase change Equilibrium diagram with the help of T-Q diagram. |  |  |  |  |  | CO1 |  |  |  | L2 |  |  |  |  |  | 7M |  |
| (OR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | a) |  | Explain the Simple Rankine cycle with the help of suitable diagrams. |  |  |  |  |  |  | CO1 |  |  | L1 |  |  |  |  | 7M |  |  |
|  | b) |  | Dry saturated steam at 17.5 bar enters the turbine of a steam power plant and expands to the condenser pressure of 0.75 bar. Determine the Rankine cycle efficiency. Also find the work ratio of the Rankine cycle. |  |  |  |  |  |  | CO1 |  |  | L2 |  |  |  |  | 7M |  |  |
| UNIT II |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | a) |  | Differentiate between Fire tube and Water Tube Boilers. |  |  |  |  |  |  |  | CO2 |  |  | L1 |  |  |  | 7M |  |  |
|  | b) |  | What is Cochran Boiler? Explain in detail with help of Neat sketch. |  |  |  |  |  |  |  | CO2 |  |  | L1 |  |  |  | 7M |  |  |
| (OR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | a) |  | Derive an expression for Mass of steam discharged through a Nozzle. |  |  |  |  |  |  |  |  | CO2 |  |  | L2 |  |  | 7M |  |  |
|  | b) |  | Dry saturated steam at 6 bar with negligible velocity expands isentropically in a convergent Nozzle to 1 bar and dryness fraction 0.94. Determine the velocity of steam leaving the Nozzle. |  |  |  |  |  |  |  |  | CO2 |  |  | L3 |  |  | 7M |  |  |
| UNIT III |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | a) |  | Explain any surface condenser with help of Neat sketch? |  |  |  |  |  | CO3 |  |  |  |  |  |  |  | L1 | 7M |  |  |
|  | b) |  | Write a short note on condenser vacuum and vacuum efficiency, Condenser efficiency. |  |  |  |  |  | CO3 |  |  |  |  |  |  |  | L3 | 7M |  |  |
| (OR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | a) |  | Explain in detail Velocity compounding and Pressure compounding with help of Neat sketches. |  |  |  |  |  |  | CO3 |  |  |  |  |  | L2 |  | 7M |  |  |
|  | b) |  | Derive an expression for blade efficiency of a Single stage Impulse turbine. |  |  |  |  |  |  | CO3 |  |  |  |  |  | L3 |  | 7M |  |  |
| UNIT IV |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | a) |  | Explain Vapour compression refrigeration system and compare with Vapour absorption refrigeration system. |  |  |  |  |  |  | CO4 |  |  |  |  |  | L1 |  | 7M |  |  |
|  | b) |  | Explain Bell-Coleman Cycle with the help of p-v and T-s diagrams. |  |  |  |  |  |  | CO4 |  |  |  |  |  | L1 |  | 7M |  |  |
| (OR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | a) |  | Explain the working Principle of Winter- Air conditioning system. |  |  |  |  |  |  | CO4 |  |  |  |  |  | L1 |  | 7M |  |  |
|  | b) |  | Explain different Psychrometric processes on Psychrometric diagram (Neat sketch). |  |  |  |  |  |  | CO4 |  |  |  |  |  | L2 |  | 7M |  |  |