20ME604B/ PEII

Hall Ticket Number:

| III/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July/August, 2023 | Mechanical Engineering |  |  |
| Sixth Semester | Non-Conventional Energy Sources |  |  |
| Time: Three Hours |  | Maximum: 70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

| 1 | a) | Enumerate different applications of solar energy | CO1 | L2 | 1M |
| --- | --- | --- | --- | --- | --- |
|  | b) | Define Solar constant. | CO1 | L1 | 1M |
|  | c) | At what wave lengths are the radiations emitted from the sun and that reflected from the earth centred? | CO1 | L2 | 1M |
|  | d) | Write any two advantages of vertical axis machines over horizontal type | CO2 | L1 | 1M |
|  | e) | Define a Geothermal source. | CO2 | L1 | 1M |
|  | f) | Show the main effects due to a wind turbine environmental aspects? | CO2 | L2 | 1M |
|  | g) | Classify the difference between biomass and biogas? | CO3 | L2 | 1M |
|  | h) | Tell about pyrolysis | CO3 | L1 | 1M |
|  | i) | Define aerobic and anaerobic digestion | CO3 | L1 | 1M |
|  | j) | Classify fuel cells according to the temperate range | CO4 | L2 | 1M |
|  | k) | Show how does a Magnetohydrodynamic generator work? | CO4 | L1 | 1M |
|  | l) | Infer the process in which aerobic bacteria convert animal dung into biogas? | CO4 | L2 | 1M |
|  | m) | Relate pyranometer and pyrheliometer? | CO1 | L2 | 1M |
|  | n) | Write the applications of Geothermal Energy | CO2 | L1 | 1M |
| Unit-I |  |  |  |  |  |
| 2 | a) | Explain the working of a flat plate collector with a neat sketch. | CO1 | L4 | 6M |
|  | b) | Explain the working of central tower receiving system with a neat sketch. | CO1 | L2 | 8M |
|  |  | (OR) |  |  |  |
| 3 | a) | Outline the advantages and disadvantages of concentrating collectors over Flat Plate type Collectors | CO1 | L2 | 10M |
|  | b) | State various subsystems in a solar thermal energy conversion systems | CO1 | L2 | 4M |
| Unit-II |  |  |  |  |  |
| 4 | a) | Interpret the design considerations of Horizontal-Axis Machines | CO2 | L2 | 10M |
|  | b) | Identify the main considerations in selecting a site for wind generators. | CO2 | L3 | 4M |
| (OR) |  |  |  |  |  |
| 5 | a) | Describe liquid dominated geothermal system. | CO2 | L2 | 7M |
|  | b) | What are the sub classification of hydrothermal convective systems? Describe a vapour dominated or dry steam field. | CO2 | L1 | 7M |
| Unit-III |  |  |  |  |  |
| 6 | a) | Describe the closed cycle OTEC system, with its advantages over open cycle system | CO3 | L2 | 8M |
|  | b) | Classify the different Bio mass resources development in India are available | CO3 | L2 | 6M |
| (OR) |  |  |  |  |  |
| 7 | a) | Discuss the source of tidal energy and the minimum tidal range required for the working of tidal plant. | CO3 | L3 | 7M |
|  | b) | Explain how tides are formed? Write the Advantages and Limitations of TIDAL power generation. | CO3 | L2 | 7M |
| Unit-IV |  |  |  |  |  |
| 8 | a) | Illustrate updraft and down draft gasifiers. | CO4 | L2 | 7M |
|  | b) | Classify different Biogas Plants and explain with neat sketches | CO4 | L2 | 7M |
| (OR) |  |  |  |  |  |
| 9 | a) | Discuss the principle of MHD generation with neat diagram. | CO4 | L2 | 7M |
|  | b) | How MHD systems are classified? Describe them in brief. | CO4 | L1 | 7M |