20EE601

Hall Ticket Number:

| III/IV B.Tech (Regular) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| July/August,2023 | Electrical and Electronics Engineering |  |  |
| Sixth Semester | Power system Protection |  |  |
| Time: Three Hours |  | Maximum: 70 Marks |  |
| Answer question 1 compulsory. |  |  | (14X1 = 14Marks) |
| Answer one question from each unit. |  |  | (4X14=56 Marks) |

| 1 | a) |  | What is a symmetric Fault? | CO1 | L1 | 1M |
| --- | --- | --- | --- | --- | --- | --- |
|  | b) |  | List the causes of faults in power system. | CO1 | L2 | 1M |
|  | c) |  | Where is the directional relay used? | CO1 | L1 | 1M |
|  | d) |  | Classify the advantages of static relays over electromechanical relays? | CO2 | L2 | 1M |
|  | e) |  | What is phase comparator. | CO2 | L2 | 1M |
|  | f) |  | What is the percentage differential relay? | CO2 | L1 | 1M |
|  | g) |  | What is frame leakage protection? | CO3 | L1 | 1M |
|  | h) |  | Is any back-up protection employed for the protection of an alternator? | CO3 | L2 | 1M |
|  | i) |  | Draw the Simplified diagram of circuit breaker control for opening operation | CO4 | L2 | 1M |
|  | j) |  | Write two methods of arc interruption: | CO4 | L1 | 1M |
|  | k) |  | List the various components of a protection system? | CO1 | L2 | 1M |
|  | l) |  | Infer the essential qualities of a protective relay. | CO1 | L2 | 1M |
|  | m) |  | Which type of fault is most dangerous? | CO1 | L1 | 1M |
|  | n) |  | Where Impedance relay, Reactance relay, and Mho relays are employed? | CO2 | L1 | 1M |
| Unit-I |  |  |  |  |  |  |
| 2 | a) | Recall what do you understand by a zone of protection? Discuss Various zones of protection for a modern power system. |  | CO1 | L2 | 7M |
|  | b) | Depict an induction disc relay and discuss its operating principle. |  | CO1 | L2 | 7M |
|  |  | (OR) |  |  |  |  |
| 3 | a) | What is Buchholz relay? Which equipment is protected by it? For what types of faults is it employed? Discuss its working principle. |  | CO1 | L2 | 7M |
|  | b) | With a neat sketch explain the operation of attracted armature type relays. |  | CO1 | L1 | 7M |
| Unit-II |  |  |  |  |  |  |
| 4 |  | Discuss how an amplitude comparator can be converted to a phase comparator, and vice versa. |  | CO2 | L2 | 14M |
| (OR) |  |  |  |  |  |  |
| 5 | a) | Discuss the operating principle of a rectifier bridge phase comparator. |  | CO2 | L1 | 7M |
|  | b) | Depict the schematic diagram of a numerical relay and briefly describe the functions of its various components. |  | CO2 | L2 | 7M |
| Unit-III |  |  |  |  |  |  |
| 6 | a) | What do you understand by field suppression of an alternator? How is it achieved? |  | CO3 | L1 | 7M |
|  | b) | Which type of protective scheme is employed for the protection of a large power transformer against short-circuits? With neat sketches discuss its working principle. |  | CO3 | L1 | 7M |
| (OR) |  |  |  |  |  |  |
| 7 | a) | What type of protection scheme is used for the protection of an alternator during earth fault and Short circuits. |  | CO3 | L1 | 7M |
|  | b) | A three-phase, 11 kV/132 kV, D-Y connected power transformer is protected by differential protection. The CTs on the LV side have a current ratio of 500/5. What must be the current ratio of the CTs on the HV side and how should they be connected. |  | CO3 | L3 | 7M |
| Unit-IV |  |  |  |  |  |  |
| 8 | a) | What is resistance switching? Derive the expression for critical resistance in terms of system inductance and capacitance, which gives no transient oscillation. |  | CO4 | L1 | 7M |
|  | b) | List the different types of air blast circuit breaker? Discuss their operating principle and area of applications. |  | CO4 | L2 | 7M |
| (OR) |  |  |  |  |  |  |
| 9 | a) | Expound the phenomenon of current chopping in a circuit breaker. What measures are taken to reduce it? |  | CO4 | L2 | 7M |
|  | b) | Discuss the arc extinction phenomenon in SF6 circuit breakers. |  | CO4 | L1 | 7M |