**18EED31**

**Hall Ticket Number:**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **III/IV B.Tech (Regular) DEGREE EXAMINATION** | | | |
| **December, 2021** | **Electrical & Electronics Engineering** | | |
| **Seventh Semester** | **HVDC & FACTS** | | |
| **Time:** Three Hours | | **Maximum:**50 Marks | |
| ***Answer question 1 compulsory.*** | | | **(10X1 = 10Marks)** |
| ***Answer one question from each unit.*** | | | **(4X10=40 Marks)** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | CO | BL | M |
| 1 | a) | What are the applications of HVDC transmission? | CO1 | L1 | 1M |
|  | b) | What is the breakeven distance for HVDC transmission lines? | CO1 | L1 | 1M |
|  | c) | Mention the advantages of voltage source converter over line commutated converter | CO1 | L1 | 1M |
|  | d) | What is a tuned filter? | CO2 | L1 | 1M |
|  | e) | How power reversal can be achieved in a HVDC link? | CO2 | L1 | 1M |
|  | f) | Define characteristic harmonics | CO2 | L1 | 1M |
|  | g) | What are the factors limiting loading capability of transmission lines? | CO2 | L1 | 1M |
|  | h) | State the drawbacks of FACTS devices | CO3 | L1 | 1M |
|  | i) | State any two objectives of series compensation | CO3 | L1 | 1M |
|  | j) | What are the different types of losses occur in STATCOM? | CO3 | L1 | 1M |
| **Unit-I** | | | | | |
| 2 | a) | Compare HVAC & DC transmission | CO1 | L2 | 5M |
|  | b) | What are the types of HVDC links? Explain. | CO1 | L2 | 5M |
|  |  | **(OR)** |  |  |  |
| 3 | a) | Draw the schematic diagram of a typical HVDC converter station and explain the role of terminal equipment in HVDC system operation | CO1 | L3 | 5M |
|  | b) | Why HVDC transmission has a range for breakeven distance instead of a single value? Explain | CO1 | L2 | 5M |
| **Unit-II** | | | | | |
| 4 | a) | Explain the operation of current control and constant extinction angle control | CO2 | L3 | 5M |
|  | b) | What are the types of MTDC systems? Explain with neat circuit diagrams | CO2 | L2 | 5M |
| **(OR)** | | | | | |
| 5 | a) | What are the adverse effects of harmonics? Suggest methods to supress harmonics in HVDC systems | CO2 | L2 | 5M |
|  | b) | Explain about A.C filters used in HVDC systems. | CO2 | L2 | 5M |
| **Unit-III** | | | | | |
| 6 | a) | Explain about AC power flow in parallel paths, what is the importance of transmission interconnections? | CO3 | L2 | 5M |
|  | b) | What are the parameters controlled during series and shunt compensation? | CO3 | L3 | 5M |
| **(OR)** | | | | | |
| 7 | a) | Compare SVC and STATCOM | CO3 | L2 | 5M |
|  | b) | List the possible benefits & drawbacks with FACTS technology | CO3 | L2 | 5M |
| **Unit-IV** | | | | | |
| 8 | a) | Find State the objectives of shunt compensation | CO4 | L2 | 5M |
|  | b) | Briefly explain the operation of STATCOM | CO4 | L3 | 5M |
| **(OR)** | | | | | |
| 9 | a) | Explain the basic operating principle of UPFC | CO4 | L2 | 5M |
|  | b) | Explain the control structure of IPFC | CO4 | L3 | 5M |



**\*\*\* Remove the border lines after typing the QP**