18EED31

Hall Ticket Number:

| IV/IV B.Tech (Supplementary) DEGREE EXAMINATION |  |  |  |
| --- | --- | --- | --- |
| November,2022 | Electrical and Electronics Engineering |  |  |
| Seventh Semester | HVDC & FACTS |  |  |
| Time: Three Hours |  | Maximum: 50 Marks |  |
| Answer Question No.1 compulsorily. |  |  | (10X1 = 10 Marks) |
| Answer ONE question from each unit. |  |  | (4X10=40 Marks) |

| 1. | a) |  | State the applications of HVDC Transmission | CO1 | L2 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | b) |  | Define pulse number of converter | CO1 | L1 |  |
|  | c) |  | Mention the use of a dc link | CO1 | L1 |  |
|  | d) |  | Define Non-characteristic harmonics of HVDC converter | CO2 | L3 |  |
|  | e) |  | List the various types of filters. | CO2 | L2 |  |
|  | f) |  | Write the applications MTDC systems | CO2 | L2 |  |
|  | g) |  | Define the term Flexible AC Transmission system (FACTS). | CO3 | L1 |  |
|  | h) |  | Mention the objectives of shunt compensation | CO3 | L4 |  |
|  | i) |  | What are the common advantages of STATCOM? | CO4 | L2 |  |
|  | j) |  | Expand UPFC | CO4 | L3 |  |
|  |  | Unit -I |  |  |  |  |
| 2. | a) |  | State the advantages and disadvantages of dc transmission system with respect to economics and reliability | CO1 | L2 | 5M |
|  | b) |  | Describe 3-ø twelve pulse bridge converter configuration? | CO1 | L1 | 5M |
|  |  | (OR) |  |  |  |  |
| 3. |  |  | Sketch the layout of HVDC system and explain the components. | CO1 | L3 | 10M |
|  |  | Unit -II |  |  |  |  |
| 4. | a) |  | Briefly explain about converter control characteristics | CO2 | L4 | 5M |
|  | b) |  | Compare series and parallel MTDC systems. | CO2 | L1 | 5M |
|  |  | (OR) |  |  |  |  |
| 5. | a) |  | List out the desired features of HVDC control | CO2 | L2 | 5M |
|  | b) |  | What are non-characteristic harmonics in HVDC systems? How are they generated? | CO2 | L1 | 5M |
|  |  | Unit -III |  |  |  |  |
| 6. | a) |  | Write the brief description of FACTS controllers | CO3 | L3 | 5M |
|  | b) |  | Explain the importance of controllable parameters. | CO3 | L1 | 5M |
|  |  | (OR) |  |  |  |  |
| 7. | a) |  | Discuss the benefits of FACTS controllers. | CO3 | L2 | 5M |
|  | b) |  | Explain the principles of conventional reactive power compensators | CO3 | L1 | 5M |
|  |  | Unit -IV |  |  |  |  |
| 8. |  |  | Explain the power angle characteristics with respect to series compensation | CO4 | L2 | 10M |
|  |  | (OR) |  |  |  |  |
| 9. | a) |  | Explain the principle of operation of IPFC with neat diagram | CO4 | L1 | 5M |
|  | b) |  | Compare SVC and STATCOM? | CO4 | L3 | 5M |